## AR front page
All queries on the content of this workbook should be sent to:
water-company-plan@environment-agency.gov.uk
Environment Agency template version:
Updated 1 March 2024
WRMP Annual Review data return submission
Water company: | South Staffs Water
Reporting year of data submission | 2023/24
WRMP reporting against: | WRMP19 |  | Signed: | Natalie Akroyd | Dated: | 2024-06-26
Responsible Officer: | Natalie Akroyd
Version of data submission: | v2.0 |  |  | [Digital signature is acceptable]
Confirmation of quality checks and assurance undertaken as part of Annul Review data return
|  |  | Signed: |  | Dated: | 2024-07-01
QA checks have been passed for all resource zone and water company level supply-balance data provided |  |  |  | Victoria Lemmon
Data provided has been derived by following the guidance in the Annual Review technical guidance document |  |  |  | [Digital signature is acceptable]
Data provided has been assured and signed off by the appropriate governance group/individual
Data that has been provided is factually accurate and consistent with metrics reported through other performance assessment processes

## AR outturn data template
WRMP ANNUAL REVIEW DATA TEMPLATE - WATER BALANCE COMPONENTS
Water company: | South Staffs Water
Number of resource zones: | 1
Year of data submission: | 2023/24
Reporting against WRMP: | WRMP19 (with leakage forecast updated using the Ofwat convergent methodology)
Scenario: | Outturn
(Delete/insert columns appropriate to the number of resource zones)
Row numbering in line with WRMP structure | Component | Derivation and type of data | Units | DP | Data requirement | Resource zone 1 data | Water company total data | Page or section reference in AR narrative or report | Notes on data provided
SUPPLY
Resources
1AR | Raw water abstracted | Input outturn data | Ml/d | 2dp | Required | 392.66 | 392.66 | Section 3.1
2.1AR | Internal raw water imported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp | Required | 0 | 0
3.1AR | Internal potable water imported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp | Required | 0 | 0
5.2AR | Internal raw water exported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp | Required | 0 | 0
6.1AR | Internal potable water exported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp | Required | 0 | 0
2.2AR | External raw water imported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp | Required | 0 | 0
3.2AR | External potable water imported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp | Required | 0 | 0
5.3AR | External raw water exported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp | Required | 0 | 0
6.2AR | External potable water exported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp | If applicable | 37.38 | 37.38 | Section 3.8
5.1AR | Non potable water supplied | Input outturn data | Ml/d | 2dp | Required | 0 | 0
7AR | Deployable output (please include and reflect the changes to DO, the sum of 8.1, 8.2 and 8.3, in the WRMP19 tables) | Input dry year figure | Ml/d | 2dp | Required | 398.09 | 398.09 | Section 3.5
12AR | Water Available For Use (own sources) | (Deployable Output + changes to DO) - (Treatment works losses and operational use + outage experienced). | Ml/d | 2dp | Required | 350.64 | 350.64 | Section 3.6
13AR | Total Water Available For Use | WAFU own sources + (total water imported) - (total water exported). Total WAFU is based on external transfers reported as the most challenging scenario for contractual volumes as stated in Appendix 1 of the technical annex and internal transfers reported as outturn volumes. | Ml/d | 2dp | Required | 313.26 | 313.26 | Section 3.6
Process Losses
9AR | Raw water losses, treatment works losses and operational use | Input outturn data | Ml/d | 2dp | Required | 17.63 | 17.63 | Section 3.12
10AR | Total outage experienced | Input outturn data | Ml/d | 2dp | Required | 29.82 | 29.82 | Section 3.2
10.1AR | Unplanned outage | Input outturn data (10.1AR and 10.2AR should add together to make 10AR) | Ml/d | 2dp | Optional | 5.14 | 5.14 | Section 3.2
10.2AR | Planned outage | Input outturn data (10.1AR and 10.2AR should add together to make 10AR) | Ml/d | 2dp | Optional | 24.68 | 24.68 | Section 3.2
DEMAND
11AR | Distribution input (in reporting year) | Outturn data for: Total household and non-household consumption + water taken unbilled + distribution system operational losses + total leakage | Ml/d | 2dp | Required | 320.95 | 320.95 | Section 4.2
12.1AR | Non potable water demand/consumption | Input outturn data | Ml/d | 2dp | If applicable | 0 | 0
Consumption
23AR | Measured non household - consumption | Input outturn data | Ml/d | 2dp | Required | 62.2722 | 62.2722 | Section 4.2.4
24AR | Unmeasured non household - consumption | Input outturn data | Ml/d | 2dp | Required | 1.4521 | 1.4521 | Section 4.2.4
25AR | Measured household - consumption | Input outturn data | Ml/d | 2dp | Required | 63.8815 | 63.8815 | Section 4.2.2
26AR | Unmeasured household - consumption | Input outturn data | Ml/d | 2dp | Required | 126.5704 | 126.5704 | Section 4.2.2
29AR | Measured household - pcc | Outturn data: (Measured household consumption * 1,000,000) / (measured household population * 1,000) | l/h/d | 0dp | Required | 110.4588 | 110.4588 | Section 4.2.3
30AR | Unmeasured household - pcc | Outturn data: (Unmeasured household consumption * 1,000,000) / (Unmeasured household population * 1,000) | l/h/d | 0dp | Required | 155.6398 | 155.6398 | Section 4.2.3
31AR | Average household - pcc | Outturn data: (Measured and unmeasured household consumption * 1,000,000) / (measured and unmeasured household population * 1,000) | l/h/d | 0dp | Required | 136.8626 | 136.8626 | Section 4.2.3
32AR | Water taken unbilled | Input outturn data | Ml/d | 2dp | Required | 1.621 | 1.621 | Section 3.11
33AR | Distribution system operational use | Input outturn data | Ml/d | 2dp | Required | 1.0902 | 1.0902 | Section 3.12
Leakage
34AR | Measured non household - uspl | Input outturn data | Ml/d | 2dp | Required | 0.8128 | 0.8128 | Section 4.5
35AR | Unmeasured non-household - uspl | Input outturn data | Ml/d | 2dp | Required | 0.11006 | 0.11006 | Section 4.5
36AR | Measured household - uspl | Input outturn data | Ml/d | 2dp | Required | 7.591 | 7.591 | Section 4.5
37AR | Unmeasured household - uspl | Input outturn data | Ml/d | 2dp | Required | 11.5572 | 11.5572 | Section 4.5
38AR | Void properties - uspl | Input outturn data | Ml/d | 2dp | Required | 1.4096 | 1.4096 | Section 4.5
39AR | Distribution Losses | Input outturn data | Ml/d | 2dp | Required | 42.5849 | 42.5849 | Section 4.5
40AR | Total leakage | Outturn data: Total USPL + distribution losses | Ml/d | 2dp | Required | 64.0656 | 64.0656 | Section 4.5
CUSTOMERS
Properties
42AR | Measured non-household - properties | Input end of reporting year data | 000's | 3dp | Required | 27.1322 | 27.1322 | Section 4.3
43AR | Unmeasured non-household - properties | Input end of reporting year data | 000's | 3dp | Required | 2.8247 | 2.8247 | Section 4.3
44AR | Void non households - properties | Input end of reporting year data | 000's | 3dp | Required | 3.5676 | 3.5676 | Section 4.3
45AR | Measured household - properties (excl. voids) | Input end of reporting year data | 000's | 3dp | Required | 240.4169 | 240.4169 | Section 4.3
45.7AR | Measured household void properties | Input end of reporting year data | 000's | 3dp | Required | 11.3269 | 11.3269 | Section 4.3
46AR | Unmeasured household - properties (excl. voids) | Input end of reporting year data | 000's | 3dp | Required | 296.6237 | 296.6237 | Section 4.3
47AR | Unmeasured household void properties | Input end of reporting year data | 000's | 3dp | Required | 21.2843 | 21.2843 | Section 4.3
48AR | Total resource zone properties (inc voids) | End of reporting year data : Total non-household properties + total void non-household properties + total household properties + total void household properties | 000's | 3dp | Required | 603.1764 | 603.1764 | Section 4.3
Population
49AR | Measured non-household - population | Input end of reporting year data | 000's | 3dp | Required | 15.917 | 15.917 | Section 4.3
50AR | Unmeasured non-household - population | Input end of reporting year data | 000's | 3dp | Required | 2.916 | 2.916 | Section 4.3
51AR | Measured household - population | Input end of reporting year data | 000's | 3dp | Required | 578.329 | 578.329 | Section 4.3
52AR | Unmeasured household population | Input end of reporting year data | 000's | 3dp | Required | 813.227 | 813.227 | Section 4.3
53AR | Total resource zone population | End of reporting year data: Unmeasured and measured household population + Unmeasured and measured non-household population | 000's | 3dp | Required | 1410.389 | 1410.389 | Section 4.3
Metering
57AR | Total measured household metering penetration (incl. voids) | Outturn data: Measured household properties exc. voids / (measured household properties exc. voids + unmeasured household properties exc. voids) + measured and unmeasured household void properties) | % | 2dp | Required | 42.2042 | 42.2042 | Section 4.4
57.1AR | Total households with a meter installed | Input outturn data (See technical annex for guidance) | % | 2dp | Optional | 251.7438 | 251.744 | Section 4.4
57.2AR | Total numbers of household meters installed | Input outturn data | 000's | 3dp | Required | 6.224 | 6.224 | Section 4.4
SUPPLY-DEMAND BALANCE
16AR | Target headroom | Input adjusted reporting year figure or DYAA WRMP value | Ml/d | 2dp | Required | 5.54 | 5.54 | Section 5.1
18AR | Observed supply-demand balance (in reporting year) | (Total WAFU - DI) - target headroom | Ml/d | 2dp | Required | -13.23 | -13.23 | Section 5.3
QA check 1 | Distribution input | 23AR + 24AR + 25AR + 26AR + 32AR + 33AR + 40AR |  |  |  | -0.0029745 | -0.0029745
QA check 2 | Water available for use (own sources) | 7AR - (9AR + 10AR) |  |  |  | 0 | 0
QA check 3 | Total WAFU | 12AR + (2.1AR + 3.1AR + 2.2AR + 3.2AR) - (5.2AR + 6.1AR + 5.3AR + 6.2AR) |  |  |  | 0 | 0
QA check 4 | Total outage | 10.1AR + 10.2AR |  |  |  | 0 | 0
QA check 5 | Total properties | 42AR + 43AR + 45AR + 45.7AR + 46AR + 47AR |  |  |  | 0 | 0
QA check 6 | Total population | 49AR + 50AR + 51AR + 52AR |  |  |  | 0 | 0
QA check 7 | Household metering | 42AR / (42AR + 43AR + 45.7AR + 47AR) |  |  |  | 0 | 0
QA check 8 | Average pcc | ((25AR + 26AR) * 1,000,000) / ((49AR + 50AR) * 1,000)) |  |  |  | 0 | 0
QA check 9 | Total leakage | 34AR + 35AR + 36AR + 37AR + 38AR + 39AR |  |  |  | 1.4211e-14 | 1.4211e-14
QA check 10 | Supply-demand balance | (13AR - 11AR) - 16AR |  |  |  | 0 | -3.5527e-15
Values returns as zero where calculated value equals input value
For volumetric metrics, QA value will show as red text where calculated value +/- 0.1 Ml/d from entered values.
For population and property QA, value will show as red text where calculated value is +/- 0.01 (10) difference from entered values
Note on G83: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Tibbetts, Joe do you happen to know why this QA test always tests red? I can't see an issue in the formula but was just curious.

## DYAA adjusted data template
WRMP ANNUAL REVIEW DATA TEMPLATE - WATER BALANCE COMPONENTS
Water company: | South Staffs Water
Number of resource zones: | 1
Year of data submission: | 2023/24
Reporting against WRMP: | WRMP19 (with leakage forecast updated using the Ofwat convergent methodology)
Scenario: | Dry year uplifted/adjusted
(Delete/insert columns appropriate to the number of resource zones)
Row numbering in line with WRMP structure | Component | Derivation and type of data | Units | DP | Data requirement | Resource zone 1 data | Water company total data | Page or section reference in AR narrative or report | Notes on data provided
SUPPLY
Resources
1AR | Raw water abstracted | Input outturn data | Ml/d | 2dp
2.1AR | Internal raw water imported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp
3.1AR | Internal potable water imported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp
5.2AR | Internal raw water exported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp
6.1AR | Internal potable water exported (in the reporting year) | Input outturn data (Observed/recorded transfer volumes) | Ml/d | 2dp
2.2AR | External raw water imported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp
3.2AR | External potable water imported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp
5.3AR | External raw water exported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp
6.2AR | External potable water exported (in the reporting year) | Input most challenging contractual volumes | Ml/d | 2dp
5.1AR | Non potable water supplied | Input outturn data | Ml/d | 2dp
7AR | Deployable output (please include and reflect the changes to DO, the sum of 8.1, 8.2 and 8.3, in the WRMP19 tables) | Input dry year figure | Ml/d | 2dp | Required | 388.64 | 388.64 | Section 2.4 | Dry year figure for supply as per WRMP19 2023-24 - not a reference drought DO
12AR | Water Available For Use (own sources) | (Deployable Output + changes to DO) - (Treatment works losses and operational use + outage experienced). | Ml/d | 2dp | Required | 356.45 | 356.45 | Section 2.4
13AR | Total Water Available For Use | WAFU own sources + (total water imported) - (total water exported). Total WAFU is based on external transfers reported as maximum contractual volumes as stated in WRMP19 and internal transfers reported as outturn volumes. | Ml/d | 2dp | Required | 319.07 | 319.07 | Section 2.4
Process Losses
9AR | Raw water losses, treatment works losses and operational use | Input outturn data | Ml/d | 2dp | Required | 17.63 | 17.63 | Section 2.4 | As outturn. DYAA would likley be less as operational use retsricted
10AR | Total outage experienced | Input outturn data | Ml/d | 2dp | Required | 14.56 | 14.56 | Section 2.4 | 80% of 2022-23 outage figure used as it is a more representative figure of actual outage; 2023-24 was a year with a lot of planned outage, which would not be the case in a dry year as any planned outage would not be permitted to go ahead.
10.1AR | Unplanned outage | Input outturn data (10.1AR and 10.2AR should add together to make 10AR) | Ml/d | 2dp
10.2AR | Planned outage | Input outturn data (10.1AR and 10.2AR should add together to make 10AR) | Ml/d | 2dp
DEMAND
11AR | Distribution input (in reporting year) | Outturn data for: Total household and non-household consumption + water taken unbilled + distribution system operational losses + total leakage | Ml/d | 2dp | Required | 334.1089 | 334.1089 | Section 2.4 | 4.1% uplift average as per WRMP19
12.1AR | Non potable water demand/consumption | Input outturn data | Ml/d | 2dp
Consumption
23AR | Measured non household - consumption | Input outturn data | Ml/d | 2dp | Required | 64.8253 | 64.8253 | Section 2.4 | 4.1% uplift average as per WRMP19
24AR | Unmeasured non household - consumption | Input outturn data | Ml/d | 2dp | Required | 1.5117 | 1.5117 | Section 2.4 | 4.1% uplift average as per WRMP19
25AR | Measured household - consumption | Input outturn data | Ml/d | 2dp | Required | 66.5006 | 66.5006 | Section 2.4 | 4.1% uplift average as per WRMP19
26AR | Unmeasured household - consumption | Input outturn data | Ml/d | 2dp | Required | 131.7598 | 131.7598 | Section 2.4 | 4.1% uplift average as per WRMP19
29AR | Measured household - pcc | Outturn data: (Measured household consumption * 1,000,000) / (measured household population * 1,000) | l/h/d | 0dp | Required | 114.9876 | 114.9876 | Section 2.4 | 4.1% uplift average as per WRMP19
30AR | Unmeasured household - pcc | Outturn data: (Unmeasured household consumption * 1,000,000) / (Unmeasured household population * 1,000) | l/h/d | 0dp | Required | 162.021 | 162.021 | Section 2.4 | 4.1% uplift average as per WRMP19
31AR | Average household - pcc | Outturn data: (Measured and unmeasured household consumption * 1,000,000) / (measured and unmeasured household population * 1,000) | l/h/d | 0dp | Required | 142.474 | 142.474 | Section 2.4 | 4.1% uplift average as per WRMP19
32AR | Water taken unbilled | Input outturn data | Ml/d | 2dp | Required | 1.6875 | 1.6875 | Section 2.4 | 4.1% uplift average as per WRMP19
33AR | Distribution system operational use | Input outturn data | Ml/d | 2dp | Required | 1.1349 | 1.1349 | Section 2.4 | 4.1% uplift average as per WRMP19
Leakage
34AR | Measured non household - uspl | Input outturn data | Ml/d | 2dp
35AR | Unmeasured non-household - uspl | Input outturn data | Ml/d | 2dp
36AR | Measured household - uspl | Input outturn data | Ml/d | 2dp
37AR | Unmeasured household - uspl | Input outturn data | Ml/d | 2dp
38AR | Void properties - uspl | Input outturn data | Ml/d | 2dp
39AR | Distribution Losses | Input outturn data | Ml/d | 2dp | Required | 44.3309 | 44.3309 | Section 2.4 | 4.1% uplift average as per WRMP19
40AR | Total leakage | Outturn data: Total USPL + distribution losses | Ml/d | 2dp | Required | 66.6922 | 66.6922 | Section 2.4 | 4.1% uplift average as per WRMP19
CUSTOMERS
Properties
42AR | Measured non-household - properties | Input end of reporting year data | 000's | 3dp
43AR | Unmeasured non-household - properties | Input end of reporting year data | 000's | 3dp
44AR | Void non households - properties | Input end of reporting year data | 000's | 3dp
45AR | Measured household - properties (excl. voids) | Input end of reporting year data | 000's | 3dp
45.7AR | Measured household void properties | Input end of reporting year data | 000's | 3dp
46AR | Unmeasured household - properties (excl. voids) | Input end of reporting year data | 000's | 3dp
47AR | Unmeasured household void properties | Input end of reporting year data | 000's | 3dp
48AR | Total resource zone properties (inc voids) | End of reporting year data : Total non-household properties + total void non-household properties + total household properties + total void household properties | 000's | 3dp
Population
49AR | Measured non-household - population | Input end of reporting year data | 000's | 3dp
50AR | Unmeasured non-household - population | Input end of reporting year data | 000's | 3dp
51AR | Measured household - population | Input end of reporting year data | 000's | 3dp
52AR | Unmeasured household population | Input end of reporting year data | 000's | 3dp
53AR | Total resource zone population | End of reporting year data: Unmeasured and measured household population + Unmeasured and measured non-household population | 000's | 3dp
Metering
57AR | Total measured household metering penetration (incl. voids) | Outturn data: Measured household properties exc. voids / (measured household properties exc. voids + unmeasured household properties exc. voids) + measured and unmeasured household void properties) | % | 2dp
57.1AR | Total households with a meter installed | Input outturn data (See technical annex for guidance) | % | 2dp
57.2AR | Total numbers of household meters installed | Input outturn data | 000's | 3dp
SUPPLY-DEMAND BALANCE
16AR | Target headroom | Input adjusted reporting year figure or DYAA WRMP value | Ml/d | 2dp | Required | 5.54 | 5.54
18AR | Supply-demand balance (in reporting year) | (Total WAFU - DI) - target headroom | Ml/d | 2dp | Required | -20.5789 | -20.5789
QA check 1 | Distribution input | 23AR + 24AR + 25AR + 26AR + 32AR + 33AR + 40AR |  |  |  | -0.0030965 | -0.0030965
QA check 2 | Water available for use (own sources) | 7AR - (9AR + 10AR) |  |  |  | 0 | 0
QA check 10 | Supply-demand balance | (13AR - 11AR) - 16AR |  |  |  | 0 | 0
Values returns as zero where calculated value equals input value
For volumetric metrics, QA value will show as red text where calculated value +/- 0.1 Ml/d from entered values.
Note on B57: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wording suggested to be in line with WRMP24 tables? But also highlights the un/measured household properties rows excludes voids?

## Scheme Delivery
WRMP19 Scheme delivery | [5 empty] | Latest forecast
| WRMP19 schemes |  |  |  |  | 2020-21 |  |  |  | 2021-22 |  |  |  | 2022-23 |  |  |  | 2023-24 |  |  |  | 2024-25
Scheme outcome description as per final published WRMP19 | Reference as per final published WRMP19 | WRZ | Benefits to be delivered (Ml/d) | Delivery date | Category | Benefits to be delivered (Ml/d) | Delivery date | Status | Further information | Benefits to be delivered (Ml/d) | Delivery date | Status | Further information | Benefits to be delivered (Ml/d) | Delivery date | Status | Further information | Benefits to be delivered (Ml/d) | Delivery date | Status | Further information | Benefits to be delivered (Ml/d) | Delivery date | Status | Further information
SHPW / SOPW | 1.4.1 | SSWSSW | 6.35 | 2025/26 | Supply-side post 2024-25 |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
Bundle 20 - distribution side management | DM_SST_LEA_20 | SSWSSW | 7.27 | 2024/25 | Leakage 2020-25 | 0.85 | 2021-03-31 | Amended | Updated following PR19 FD | 1.7 | 2022-03-31 | Amended | Updated following PR19 FD | 2.54 | 2023-03-31 | Amended | Updated following PR19 FD | 4.91 | 2024-03-31 | Amended | Updated following PR19 FD | 7.27 | 2025-03-31 | Amended | Updated following PR19 FD
Live Network - distribution side management | DM_SST_LEA_500 | SSWSSW | 4.58 | 2024/25 | Leakage 2020-25 | 1.54 | 2021-03-31 | Amended | Updated following PR19 FD | 3.08 | 2022-03-31 | Amended | Updated following PR19 FD | 4.6 | 2023-03-31 | Amended | Updated following PR19 FD | 4.59 | 1900-01-03 13:55 | Amended | Updated following PR19 FD | 4.58 | 2025-03-31 | Amended | Updated following PR19 FD
Water efficiency commitment - NHH | DM_WEFF_1.5 | SSWSSW | 0.15 | 2024/25 | Demand-side 2020-25 | 0.03 | 2021-03-31 | On-track |  | 0.06 | 2022-03-31 | Deferred | Due to Covid-19 | 0.09 | 2023-03-31 | Replaced | Activity diverted to HH efficiency to address increase since Covid-19 | 0.12 | 2024-03-31 | Replaced | Activity diverted to HH efficiency to address increase since Covid-19 | 0.15 | 2025-03-31 | Replaced | Activity diverted to HH efficiency to address increase since Covid-19
Water efficiency commitment - HH | DM_WEFF_1.5 | SSWSSW | 1.68 | 2024/25 | Demand-side 2020-25 | 0.32 | 2021-03-31 | On-track |  | 0.65 | 2022-03-31 | Deferred | Due to Covid-19 | 0.98 | 2023-03-31 | On-track |  | 1.33 | 2024-03-31 | On-track |  | 1.68 | 2025-03-31 | On-track
AMR enhanced free metering - Committed | DM_206A_Committed | SSWSSW | 0.53 | 2024/25 | Metering | 0.1 | 2021-03-31 | Other (explain in further information) | Lower customer optant rate than forecast seen | 0.21 | 2022-03-31 | Other (explain in further information) | Lower customer optant take up than forecast as a result of Covid restrictions | 0.32 | 2023-03-31 | Other (explain in further information) | Lower customer optant take up than forecast as a result of Covid restrictions | 0.42 | 2024-03-31 | Amended | Lower customer optant take up than forecast due to cost of living crisis | 0.53 | 2025-03-31 | Amended | Lower customer optant take up than forecast due to cost of living crisis
Bundle 20 - NHH | DM_SST_LEA_20 | SSWSSW | 0.19 | 2024/25 | Leakage 2020-25 | 0.02 | 2021-03-31 | Amended | Updated following PR19 FD | 0.04 | 2022-03-31 | Amended | Updated following PR19 FD | 0.07 | 2023-03-31 | Amended | Updated following PR19 FD | 0.12 | 2024-03-31 | Amended | Updated following PR19 FD | 0.19 | 2025-03-31 | Amended | Updated following PR19 FD
Live Network - NHH | DM_SST_LEA_500 | SSWSSW | 0.11 | 2024/25 | Leakage 2020-25 | 0.03 | 2021-03-31 | Amended | Updated following PR19 FD | 0.07 | 2022-03-31 | Amended | Updated following PR19 FD | 0.11 | 2023-03-31 | Amended | Updated following PR19 FD | 0.11 | 2024-03-31 | Amended | Updated following PR19 FD | 0.11 | 2025-03-31 | Amended | Updated following PR19 FD
Bundle 20 - HH | DM_SST_LEA_20 | SSWSSW | 3.08 | 2024/25 | Leakage 2020-25 | 0.36 | 2021-03-31 | Amended | Updated following PR19 FD | 0.73 | 2022-03-31 | Amended | Updated following PR19 FD | 1.1 | 2023-03-31 | Amended | Updated following PR19 FD | 2.09 | 2024-03-31 | Amended | Updated following PR19 FD | 3.08 | 2025-03-31 | Amended | Updated following PR19 FD
Live Network - HH | DM_SST_LEA_500 | SSWSSW | 1.82 | 2024/25 | Leakage 2020-25 | 0.59 | 2021-03-31 | Amended | Updated following PR19 FD | 1.19 | 2022-03-31 | Amended | Updated following PR19 FD | 1.8 | 2023-03-31 | Amended | Updated following PR19 FD | 1.81 | 2024-03-31 | Amended | Updated following PR19 FD | 1.82 | 2025-03-31 | Amended | Updated following PR19 FD
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
Please note benefits listed each year are cumulative |  |  |  |  | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--
[5 empty] | --select-- |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select-- |  |  |  | --select--

## dropdowns (hidden)
Category (WRMP19) | Category (WRMP24) | Status
--select-- | --select-- | --select--
Supply-side 2020-25 | Supply-side 2025-30 | On-track
Demand-side 2020-25 | Demand-side 2025-30 | Deferred
Leakage 2020-25 | Leakage 2025-30 | Amended
Supply-side post 2024-25 | Supply-side post 2029-30 | Replaced
Internal interconnectors | Internal interconnectors | Other (explain in further information)
Metering | Metering
Other (explain in further information) | Other (explain in further information)